## Slide 1: PowerPoint 2: Building services engineering trades
PowerPoint presentation
Unit 102: Introduction to the trades in the construction and built environment sector

## Slide 2: Building services trades
This diagram shows the activities associated with each of the main trades in the building services industry.
Building services trades
Electro-technical
Plumbing
Gas installation engineering
Heating and ventilation

## Slide 3: Building services trades: Electrotechnical
Electrotechnical: electricians can be divided mainly into two categories:
Installation electricians who test and install wiring systems (lighting, security, fire) and equipment. They work in homes, building sites, office blocks and industrial sites.
Maintenance electricians who test and maintain electrical equipment and often work in commerce or heavy industry.

## Slide 4: Building services trades: Electrotechnical (continued)
Your duties will depend on which area you decide to work in. You could be re-wiring a home, laying cables on a building site, testing systems in a factory or installing a CCTV system in an office – there’s a variety of potential jobs awaiting you.

## Slide 5: Building services trades: Electrotechnical (continued)
Below are some examples of electrical equipment that you may encounter.
Double socket outlet
Fused spur unit
1 way lighting switch

## Slide 6: Building services trades: Electrotechnical (continued)
Below are some examples of cables used in electrical work.
PVC/PVC
Flex
Steel wire armoured
Fire resistant

## Slide 7: Building services trades: Electrotechnical (continued)
Skills needed to be an electrician
To become a successful electrician, you will require the following attributes:
good practical skills
good at following detailed instructions
adaptable
good with both heights and confined spaces
careful and precise.

## Slide 8: Building services trades: Plumbing
Plumber: A plumber is someone who installs and maintains pipes in homes and businesses. These pipes need to be installed and maintained for potable water, drainage, irrigation and sewage, as well as other uses.
Plumbers can be involved in hands-on work or may work in a design capacity, drafting blueprints and helping make the installation process more efficient. This is a profession with an extensive number of possible career paths.

## Slide 9: Building services trades: Plumbing (continued)
Plumber duties and responsibilities
Plumbers must be able to perform the following tasks:
Install pipes and plumbing fixtures.
Clear obstructions from sink drains and toilets.
Visually inspect equipment and operate test equipment such as pressure and vacuum gauges to determine the cause and location of issues.
Troubleshoot problems and decide how to fix them.
Repair pipes and plumbing fixtures.
Estimate costs of installations and repairs.

## Slide 10: Building services trades: Plumbing (continued)
Examples of plumbing installations
Pipework
Showers
Taps
Bathrooms

## Slide 11: Building services trades: Plumbing (continued)
Examples of plumbing equipment
Plastic pipes
Copper and flexible pipes
Various fittings
Valves

## Slide 12: Building services trades: Heating and ventilation
Heating and ventilation engineer: Heating and ventilation engineers install and maintain the heating and air conditioning systems found in larger buildings – from offices and schools to shops and sports centres.

## Slide 13: Building services trades: Heating and ventilation (continued)
Heating and ventilation engineer responsibilities
There are a variety of roles in the industry, for example:
Heating installers fit heating equipment and pipework systems in buildings such as office blocks, hospitals and schools.
Ductwork installers put in ductwork and ventilation systems in large buildings such as sports stadia, airport terminals and shopping centres.
Domestic heating installers fit central heating systems in homes and ensure they work properly.

## Slide 14: Building services trades: Heating and ventilation (continued)
Heating and ventilation engineer responsibilities (continued)
Service engineers plan and carry out regular maintenance and repairs on all systems to make sure they are working safely and efficiently.
Commissioning engineers make sure systems meet their original design specification by testing and checking carefully that they do what the customer needs them to do.
Control engineers design and install the control panels that operate and adjust heating systems.

## Slide 15: Building services trades: Heating and ventilation (continued)
Heating and ventilation engineer responsibilities (continued)
Energy efficiency is extremely important, and part of your job would be to make sure systems work as efficiently as possible. This is to reduce fossil fuel consumption, carbon emissions and help people save energy.
You would also work with renewable energy heating systems such as ground source heat pumps, which take the heat from underground and pump it to the surface and then into buildings to supply warm air.

## Slide 16: Building services trades: Heating and ventilation (continued)
Air conditioning systems
Air conditioning and
heating systems
Heating, ventilation and air conditioning systems
Examples of heating and ventilation installations

## Slide 17: Building services trades: Heating and ventilation (continued)
Fans
Room ventilation systems
Ducting
Examples of heating and ventilation equipment

## Slide 18: Building service trades: Refrigeration and air conditioning engineer
Refrigeration/air conditioning (AC) engineer
AC engineers install, maintain and repair AC systems used to keep spaces cool in summer and warm in colder months.
Most AC engineers tend to work in commercial buildings, but AC systems are also becoming more widely available for domestic applications.
Any AC engineer working with and handling the refrigerant gasses inside an AC system should be registered and hold an F Gas Certificate.

## Slide 19: Building service trades: Refrigeration and air conditioning (continued)
Refrigeration/air conditioning engineer
Refrigeration is the design, installation and maintenance of cooling rooms. Examples include walk-in fridges in restaurant kitchens, hospitals, mortuaries and supermarkets, as well as food processing plants and factories where a low temperature needs to be maintained.

## Slide 20: Building services trades: Gas installation engineering
Gas installation engineer
A gas installation engineer specialises in the installation, service, repair and maintenance of gas-fired appliances in commercial and domestic settings. In a domestic setting engineers would work on hobs, ovens, boilers, fires and heaters, as well as static ovens and tumble dryers in a commercial environment. Gas installation engineers normally start out as a Level 2 plumber and specialise in gas at Level 3.

## Slide 21
Any questions?