## Slide 1: PowerPoint 5: Knowing the purpose of maintaining buildings, structures and installed services
PowerPoint presentation
Unit 103: Introduction to the built environment life cycle

## Slide 2: Unplanned maintenance
Unplanned maintenance can best be described as a risky strategy. It involves adopting and using a reactive task-based method rather than a proactive one.
The disadvantage of this method is that there is a greater risk of down time; materials and equipment not been available when required; costs can increase as more work may be required to replace damaged items or components than if they were serviced regularly; labour cost will also be higher as tasks will take longer; and the disturbance caused can affect the smooth running of a business as down time is increased.

## Slide 3: Planned maintenance
Planned maintenance is the process where all maintenance and servicing are planned in advance with time allocated to specific tasks and resources, with stock ordered in preparation, i.e. for painting and decoration at regularly timed intervals.
Service plans are often set up with external specialist contractors to service, for example, fire extinguishers, air conditioning systems, electrical testing and certification, gas safety (boiler and gas appliance services).

## Slide 4: Maintenance teams
Most large companies employ a handy person or small facilities team that carry out routine maintenance tasks, painting and decorating, non-structural repairs, changing lamps, replacing broken or defective locks and fitments, etc.
Specialist contractors are generally used to complete larger projects, such as:
roof repairs
structural repairs
repairs to plumbing, heating, electric and gas systems – where certification is required to undertake the tasks and sign them off as safe.

## Slide 5: The purpose of servicing and maintenance
Benefits to carrying out regular maintenance to a building include the following:
Ensures that the security and integrity of the building is maintained.
Extends the life span of the building.
Keeps the building water tight.
Maintains the fabric and aesthetics of both the internal and external appearance of the building.
Reduce running costs.
Provides a safe and pleasant environment for the occupants.

## Slide 6: The purpose of servicing and maintenance (continued)
Benefits of carrying out regular maintenances to appliances and systems:
Maintains the safety of appliances preventing the release of carbon monoxide fumes, gas leaks and the chance of electrocution.
Telecommunications and alarm systems are less likely to crash.
Reduces the running costs as a regularly serviced appliance is more fuel efficient.
A regularly serviced appliance is more reliable, resulting in less down time.

## Slide 7
Any questions?