## Slide 1: PowerPoint 8: Off-site construction 1
PowerPoint presentation
Unit 106: Introduction to emerging technologies in construction and the built environment sector

## Slide 2: Introduction to off-site construction
Off-site construction means that products are manufactured in
a factory and then transported and assembled and installed on-site.
Off-site construction products include:
Components
Subassemblies
Panels
Pods.

## Slide 3: Introduction to off-site construction
Off-site construction is a Modern Method of Construction (MMC) that aims to optimise the construction process. It is also known as OSM (Off Site Manufacture) or prefabrication.
Learn more about off-site construction from the videos below:
https://www.youtube.com/channel/UCw8NH6SuOs77wOo1YCL5Vmw
https://youtu.be/Hgq14W6v2vU

## Slide 4: Benefits of off-site construction
The benefits of off-site construction are:
a controlled production environment
consistent production process
production is not impacted by weather conditions, as on-site
quicker production process
less waste.

## Slide 5: Benefits of off-site construction
Sustainability
The factory environment provides a cleaner and safer place of work. The production is controlled, making it easier to achieve environmental performance criteria.
Economic: achieved by the speed of production.
Social: achieved by the reduced risk to construction personnel than on-site.
Environmental: achieved with the higher quality products and resulting performance (e.g. insulation) .
                Off-site fundamentals Slides by Dr Mila Duncheva and Carola Calcagno, Edinburgh Napier University

## Slide 6: Benefits of off-site construction
                Offsite fundamentals Slides by Dr Mila Duncheva and Carola Calcagno, Edinburgh Napier University
Value
The factory environment guarantees higher quality, more predictable product behaviour, better performance and little defects, with consequent higher customer satisfaction.
Technical: the factory environment guarantees higher quality, more predictable product behaviour.
Quality: quality control is achieved by the regularised and dry environment, producing components with predictable better performance and fewer defects.
Customer satisfaction: a consequence of improved quality within an efficient process.

## Slide 7: Benefits of off-site construction
Efficiency
The factory environment provides greater efficiency.
Time: savings can be made, carrying out site operations at the same time as manufacturing off-site components.
Waste: reduction in the production of waste can be achieved when mass producing components accurately with fewer defects.
Flexibility: a consequence of improved quality, within an efficient (possibly automated) process.
                Offsite fundamentals Slides by Dr Mila Duncheva and Carola Calcagno, Edinburgh Napier University

## Slide 8: Materials used in off-site construction: timber
                Offsite fundamentals Slides by Dr Mila Duncheva and Carola Calcagno,
                Edinburgh Napier University
Timber products are available in the form of:
sub-assemblies
panels
engineered timber products
volumetric units.
Benefits | Challenges
High environmental credentials (e.g. carbon capture) | Special attention needs to be taken when designing with timber, because of its natural properties, which can result in differential movement due to changes in its moisture content
Good thermal performance and air-tightness | Fire regulations prescribing the use of non-combustible materials can be a barrier

## Slide 9: Materials used in off-site construction: concrete
                Offsite fundamentals Slides by Dr Mila Duncheva and Carola Calcagno,
                Edinburgh Napier University
Concrete is available in pre-cast
components
sub-assemblies
panels
volumetric units.
Benefits | Challenges
Removes the need for ‘wet’ construction with associated curing times | Components are heavy: associated health and safety risks
Opportunity for buildings with special security and durability requirements (prisons, infrastructures, etc) | Usually includes only the concrete structure; the remaining work needs to be arranged and synchronised on site
 | Transportation issues; remote locations can become a barrier

## Slide 10: Materials used in offsite construction: steel
                Offsite fundamentals Slides by Dr Mila Duncheva and Carola Calcagno, Edinburgh Napier University
Steel is available in:
components
many shapes and forms; due to its structural performance.
Benefits | Challenges
Particularly suitable for large-scale projects where large spans need to be covered | Transportation can become a challenge
‘Dry’ method: results in a clean work environment and a quick onsite assembly | Components cannot be easily modified
 | Steel has a high thermal conductivity: detail design and insulation installation need to be particularly accurate to avoid thermal bridging
 | Corrosion is a risk

## Slide 11
Any questions?