## Slide 1: PowerPoint 10: Off-site construction 3
PowerPoint presentation
Unit 106: Introduction to emerging technologies in construction and the built environment sector

## Slide 2: Off-site construction case study: Wernick Buildings
The ‘Y Twyni’ building is a modular teaching block at Swansea University’s Bay campus designed and built by Wernick Buildings Ltd.
The following information is reproduced with kind permission from Wernick Buildings. For more information visit Modular Building Manufacturer UK | Wernick

## Slide 3
2500–3000m² flexible lecture theatre
Relocatable solution required for the building
Big open plan spaces to accommodate up to 500 persons per room
Tall ceilings with exposed services and AV
Aesthetically pleasing building which blends into surroundings
Low energy and easily upgradable to positive energy
Firmly fixed deadline of November 2019
Simple and speedy procurement process
The client’s brief – established November 2018

## Slide 4: Modular system
To get the most from a modular solution, engage early with your modular contractor and bring them into the team at RIBA stage 1 or 2.
This allows the building to be designed around the modular system, maximising design, manufacture and construction efficiencies and leading to a hugely reduced programme when compared to traditional construction as well as improved value for money.
                Source: Wernick

## Slide 5
Is modular or offsite construction an option?
Appoint design team, including modular manufacturer
Design team work with modular manufacturer to maximise the benefits of offsite
Design team oversee manufacture both on and offsite
The full benefits of modular construction are realised
Early engagement – the key to modular success

## Slide 6: Key benefits of Wernick modular buildings
Up to 50% shorter build times than traditional construction
Lower overall project cost compared to traditional construction
Programme certainty due to offsite manufacture and concurrent working
Factory conditions improve health and safety, accuracy and quality
Design for Manufacture and Assembly (DfMA) with near zero waste for modular production
Less noise, waste and disruption to site
Fully non-combustible wall panel system
Higher thermal mass compared to traditional light gauge steel modular

## Slide 7: Wernick module design
Module lengths from 6m to 15m long
Maximised internal ceiling heights
Up to 3300mm to underside of structure
Max. 3600mm to underside of soffit
Multi-storey clear internal spans to 12m
External wall panels
Low U- values (thermal transmittance) and fully non-combustible systems available
High performance floors
Concrete and more sustainable cross-laminated timber (CLT) floors
6-storey capability

## Slide 8: Programme
Enquiry received – November 2018
Planning permission submitted – December 2018
Order placed – March 2019
Start on site – June 2019
Module delivery – July 2019
Handover – November 2019

## Slide 9: Building energy
Low U-values, best practice air tightness
The system is warm frame and virtually all repeating thermal bridges have been removed, helping to produce a low energy solution.

## Slide 10: BREEAM Excellent proven system
The system meant that near-zero waste was generated in the module manufacture. The 60 modules of the Swansea project weighed around 8 tons each, making the overall modular structure of the building approximately 480 tons.
The manufacture of the 60 modules generated only 650kg of waste, around 0.15% total waste. Figures for traditional construction are often quoted as high as 10%.

## Slide 11: BREEAM Excellent proven system
BREEAM Excellent target 19kg/m2
Wickford Head Office: 1,000sqm two storey office
Module manufacture: 262 kg = 0.262 kg/m2
Factory module fit out: 4,071 kg = 4.071 kg/m2
Site fit out: 11,080 kg = 11.08 kg/m2
Total waste generated = 15.151 kg/m2
Percentage of waste recycled and diverted from landfill = 98%

## Slide 12: Module delivery
Using a modular solution allowed concurrent working. So, while the site was being prepared and foundations laid, the 60 modules were being manufactured 10 miles away at the Wernick factory.
Site work took place during building manufacture
Modules manufactured at specialist manufacturing plant

## Slide 13: Off-site construction case study: Wernick
Delivery of the modules took place over five days. They were craned into place and sealed up prior to the start of the fit out.
The system can accommodate a temporary roof protection system, meaning that the building did not need scaffolding, again saving time and money.

## Slide 14: Completed project
360 virtual tour - Swansea University ‘Y Twyni’ Building • Wernick

## Slide 15
Any questions?