Unit 111: Roofing occupations

# Worksheet 1: Hazards (tutor)

Identify the hazards shown in the illustration and write them in the table below. Discuss your findings with the whole group, comparing answers.

| 1 | No hard hats |
| --- | --- |
| 2 | Ladders not tied |
| 3 | Ladders at wrong angle and not on flat ground |
| 4 | Incomplete scaffold |
| 5 | No handrails , no scaffolding warning signs |
| 6 | Men working under dangerous scaffold |
| 7 | Dangerous substances on the ground – not in storage |
| 8 | Mixing area not identified in safe working area |
| 9 | Untidy site; tools and materials not stored correctly |
| 10 | Dangerous trip hazards |
| 11 | Open fire |
| 12 | Trailing leads |
| 13 | Scaffolding not secure to the building |
| 14 | No hi-viz vests |