# Unit 112: Construction operations and civil engineering operations

# Worksheet 12: Drainage systems – layouts (tutor)

Study the drainage layout. Name what type of system it is. Complete the abbreviation table then identify what they could be on the plan.

MH Manhole

RE Rodding Eye

RWP Rainwater Pipe

SVP Soil Vent Pipe

BIG Back Inlet Gully

IC Inspection Chamber

System type: Combined system

Again, study the drainage layout. Name what type of system it is. Complete the abbreviation table then identify what they could be on the plan.

System type: Separate system

MH Manhole

RE Rodding Eye

RWP Rainwater Pipe

SVP Soil Vent Pipe

BIG Back Inlet Gully

IC Inspection Chamber