## Slide 1
PowerPoint presentation
PowerPoint 6: Lighting and ‘power’ circuits
Unit 114: Electrotechnical systems and equipment

## Slide 2: Lighting circuits: switches

## Slide 3: Lighting circuits
Examples of light fittings:
Lights

## Slide 4: Lighting circuits Examples of lamps used:
Bayonet cap Edison screw cap Spotlight cap Capsule
Small bayonet cap Small Edison screw cap Spotlight cap Tube lighting

## Slide 5: Lighting circuits: examples of transformers and drivers

## Slide 6
Lighting circuits: 1-way lighting circuit

## Slide 7
Lighting circuits: 2-way lighting circuit

## Slide 8
Lighting circuits: intermediate lighting circuit

## Slide 9: Ring final circuits: socket outlets and fused connection units

## Slide 10: What is a ring final circuit?

## Slide 11: Ring final circuits: adding a socket outlet
There are three ways of adding a socket outlet to a ring circuit. The most common is to connect it as a spur, and this can be done in two ways:
A single cable is added from the new socket, and connects to an existing socket on the ring.
A spur can alternatively be connected at the consumer unit, which although might seem incorrect, is actually no different to connecting to an existing socket outlet.
The spur socket only has a single cable, with the connections to live, neutral and earth. This is exactly the same as connecting at the end of a radial circuit. The other end of the cable connects to a socket on the ring, so there will be three cables in that socket.

## Slide 12: Spur limitations
Only one socket outlet can be connected to a spur. (This can be a single or double outlet.) Connecting a further outlet is NOT permitted, as this could overload the single cable supplying it.
Each socket outlet or junction box on the ring can only have one spur connected. Trying to connect two or more is not only very difficult due to the number of wires involved, it can also result in an abnormally high load at that point in the ring.
The number of spurs on the ring must not exceed the number of other socket outlets. If for some reason you need a large number of spurs, it is time to replace the whole circuit rather than keep adding to it.

## Slide 13: Examples of a spur
Spur from an existing socket outlet

## Slide 14: Examples of a spur
Spur from a junction box

## Slide 15: Power circuits: what is a radial circuit?
In a radial circuit, power is transmitted from point to point by a single length of cable linking each point to the next. It starts at the consumers unit and terminates at the last connected device. Intermediate junction boxes may connect individual sockets or chains of several sockets.

## Slide 16
Power

## Slide 17: Polarity testing
One of the sequence of tests done after the completion of a lighting or power circuit is a polarity test.
The purpose of a polarity test is to ensure that all single pole devices (fuses, switches and circuit breakers) are connected in the line conductor only. Since AC installations consist of a line and a neutral conductor, it is extremely important that these conductors are connected the right way around, within all electrical accessories such as wall sockets or plugs.
To ensure this, polarity test is done at each relevant point. This simple test is just as important as all the others, and many serious injuries and electrocutions could have been prevented if polarity checks had been carried out.

## Slide 18: Polarity testing
Polarity testing are carried out to ensure:
All single pole devices (fuses, switches and circuit breakers) are connected in the line conductor only.
The line conductor must be connected to the centre terminal of an Edison screw lamp holder
All accessories are connected correctly.

## Slide 19
Any questions?