## Slide 1: PowerPoint 1: Skills/role required within the wall and floor tiling industry
PowerPoint presentation
Unit 116: Wall and floor tiling

## Slide 2
Aim: To give learners an understanding of the role of a wall and floor tiler.
Outcomes: At the end of this session, the learner will be able to:
Outcome 1: Identify the role of a wall and floor tiler and their main responsibilities at each stage when completing a variety of related tasks.
Outcome 2: Identify the various skills required within the different areas of the wall and floor tiling sector.
Outcome 3: Identify the different methods of disposing wall and floor tiling materials correctly in line with current legislation.

## Slide 3: Role of a wall and floor tiler
As a wall and floor tiler, you will be involved in many work applications to be able to produce a finished work product.
Using the information listed below, we will identify the skills needed at different stages to competently complete a variety of related tiling tasks.
1. Planning work | 6. Mixing materials
2. Setting out | 7. Applying and fixing tiling materials
3. Cutting tiles | 8. Handling and storing materials and accessories
4. Protecting surfaces | 9. Environmental considerations
5. Preparing backgrounds | 10. Safe working practices

## Slide 4: 1. Planning work
Before undertaking any work, it is important to plan. This means you can:
  set time scales to start and complete a tiling job
  work out material and labour costs
  determine the suitability of materials for a tiling job
  identify any health and safety requirements, such as risk assessments and PPE (AC 1.5)
  organise delivery times
  dispose of material waste in accordance with environmental considerations.

## Slide 5: 2. Setting out
Correctly setting out tiling work can be achieved using different methods.
These methods can be combined to produce the required job.
Measurement.
3:4:5 method, used for checking for square.
Centre lines, used for working out even and correct size cuts.
Dry run.

## Slide 6: 3. Cutting tiles
    Tilers need to be able to cut a range of different tiles using the correct tile cutting tool and method.
Tile scribe | 
Tile saw | 
Manual dry cutter | 
Wet cutter | 
https://www.vitrex.co.uk/
https://www.vitrex.co.uk/

## Slide 7: 4. Protecting surfaces
When tiling, the tiler must be careful not to damage any existing wall or floor surface or any other equipment in the area where they are working.
For example, a kitchen in a domestic property needs a new tiled floor and new tiled splashback (wall).
In order to protect the existing kitchen, the tiler must use equipment to protect the kitchen cupboards and work top.
Cupboards and doors | Dust sheets/plastic sheeting
Floors | Sheet materials/dust sheets
Worktops | Cardboard/ply sheet/plastic sheet
Painted surfaces | Low tack tape and plastic sheeting

## Slide 8: 5. Preparing backgrounds
Tiling is not just about fixing tiles to walls and floors: there is a lot of work involved in the preparation of wall and floor surfaces before a tile is fixed.
Both new and old buildings can be constructed in different ways, with many different material types that make up the fabric of their structures.
These can include gypsum-based, cement-based and timber-based materials.
A very important role of the tiler is identifying the material background and applying the correct primer or membrane in preparation prior to tiling.

## Slide 9: 6. Mixing materials
Tiling materials, such as adhesives and grouts, are available in pre-mixed tubs and in powdered form in bags.
Cement-based adhesive and grout made of dry powder comes pre-packaged in paper bags.
These types of dry powdered tiling materials need to be mixed with water to the correct ratios with a mixing tool called a paddle mixer.

## Slide 10: 7. Applying and fixing tiling materials
After preparing wall and floor surfaces prior to tiling, tilers can proceed to tile walls and/or floors. This requires understanding how to:
correctly apply adhesive
fix a tile to a background
grout and polish tiles to finish the work product.
This must be completed in line with drawings, specifications, industry standards and instructions provided.

## Slide 11: 8. Handling and storing materials and accessories
As a part of the tiling process, in relation to planning a tiling job and working with the materials used on a tiling job, being able to manage the materials correctly is an important aspect of a tiler’s role.
Some of the points that relate to effective handling and storage of materials include the following.
Stock rotation and shelf life.
The protection of materials to avoid damage.
How different materials should be correctly handled and stored.
How to access and identify materials needed for a work product.

## Slide 12: 9. Environmental considerations
As with many trades, tiling produces waste material products.
This includes waste from:
contaminated water and chemical waste.
cleaning the work area, tools and equipment.
excess mixing, tile offcuts, packaging and containers.
Effective managing and planning of tiling work, by reducing, reusing and recycling, reduces waste. This can save time, money and create a safer working environment.

## Slide 13: 10. Safe working practices
In construction, as in all other trades, tiling can be hazardous if certain personal protection and training is not carried out. Tilers must:
ensure they wear the correct PPE/C (personal protection equipment/clothing)
have the relevant trade and safety training.
read and understand risk assessments.
read and understand method statements.
be able to identify the key legislation relating to the wall and floor tiling trade.
have an awareness of HASWA, RIDDOR, COSHH, PUWER and their responsibilities in compliance.

## Slide 14
Any questions?