## Slide 1: Future Design Considerations
PowerPoint presentation 1.1
Unit 101: Introduction to the Built Environment
Unit 301: Understanding construction practice in Wales

## Slide 2: Building Sites Future Design Considerations
Construction sites are responsible for significant impacts, especially at a local level.
These arise from disturbance, pollution and waste.
Impacts such as energy and water use are also significant (although minor in relation to the overall impacts of the building).

## Slide 3: Pollution
Construction has the potential for major pollution, largely through pollution to air (through dust emission), and to water (via watercourses and ground water).

## Slide 4: Ecology
Wherever homes are constructed, there is always a risk that however environmentally benign the building or development itself is, it may present a threat to local ecology or areas of natural beauty.
Damage can be minimized either by selecting a site of low ecological value, or by developing a site in a way that protects the most important ecological features.

## Slide 5: Ecology
House building need not reduce the ecological value of the site; it may enhance it in many cases.
There will always be some temporary disturbance to the local ecology, but wildlife will return once construction is complete, providing an appropriate habitat is provided.

## Slide 6: Protection of Trees
There should be a physical barrier to prevent damage to existing trees.
Trees should also be protected from direct impact and from damage to the roots.
There should be provision of physical barriers to prevent damage to existing hedges and natural areas.
If such areas are remote from site works or storage, construction activity should be prevented in their vicinity.

## Slide 7: Building Footprint
Land available for development is becoming increasingly expensive.
Use of “greenfield” sites is already being limited, and developers are likely to experience hostility from the local community.
To make best use of the available land and other resources, including materials and energy, it is important to ensure effective use of the building footprint by maximizing the usable space.

## Slide 8: Energy
Energy management on site has been a key focus for the Construction Confederation, and they have published specific guidance to help achieve this.
Monitoring and reporting at site level are the key factors in raising awareness of the impacts of energy consumption.
One of the biggest energy losses on construction sites is through the wastage of materials, therefore it is important to recognize and encourage construction sites to be managed in an environmentally, socially considerate and accountable manner.

## Slide 9: Internal Energy Efficiency
New buildings are being designed with energy saving appliances, and the design of the building should improve insulation, heat loss and ventilation.

## Slide 10: Energy Production
As the world’s sources of energy gradually disappear there is a need to try other methods such as:
● Wind turbines
● Small-scale hydro
● Fuel cells
● Solar panels