## Slide 1: PowerPoint: Setting out
PowerPoint presentation 1.1
Unit 101: Introduction to the Built Environment
Unit 306: Conform to general workplace health, safety and welfare

## Slide 2: Communicate the Method of Work
It is important the site manager can read and understand the contract programme and all the various legislative documents and drawings, and even more important to be able to communicate these documents to the various employees on the site.

## Slide 3: Set Out the Site
One of the first jobs when starting a new site would be to set out the site.
This operation will depend on the type and position of the site.
Due to land shortages architects are being commissioned to design buildings on land that would otherwise be left barren.
There are numerous shapes and sizes of building plots, too many to mention, but they all fall into certain categories.

## Slide 4: Closed Sites
These are very restricted building areas with very limited, if any, storage facilities.
Access could also be a problem.
Alterations to existing buildings, especially shops fall into this category.

## Slide 5
Closed Site

## Slide 6: Open Sites
This type of site has plenty of space for material storage, plant movement and does not restrict in any way the method of excavation or construction.
This is a traditional green field that has been released for development where no restrictions occur and access is readily available.
The main problem is with security.

## Slide 7: Open Sites

## Slide 8: Brown Sites
These are sites which have already been built on and are now being demolished and made available for new buildings.
These sites will almost certainly have existing services which will have to be identified and made safe.
These sites will also have to be risk assessed to determine if there is any contamination from the previous use of the building.

## Slide 9: Brown Sites

## Slide 10: Others
Other types of construction sites could be refurbishment or alterations which take place inside existing buildings.